## Slide 1: Overview of Task 2: Improving Performance from Existing Hydropower
Yoichi Miyanaga
Task 2 Leader
CRIEPI, JAPAN
IEA Technology Collaboration Programme on Hydropower
Annex-XVI workshop, 28 February 2022

## Slide 2: Overview of Task 2
Objective
  To identify Hidden and Untapped Hydro Opportunities (HUHOs) from existing hydropower improvements through case history studies.
  To provide a methodology for further development of HUHOs.
  The result will contribute to an overall target of the Annex XVI.
Work plan
  Review of methodologies for improving performance
  Case history study
  Preparation of the report including case histories
  Period: 2019-2022

## Slide 3: Scope of case histories
Type of projects
  Renewal and upgrading of existing facilities
  Expansion and redevelopment of existing facilities
  Operational improvement of existing hydropower plant
Requirements for HUHOs
  Development of untapped potential
  Technical innovation/ advancement
  Response to the market/ social needs

## Slide 4: Status of case history study
Based on the project type and the requirements for HUHOs
Source: Annex XI, Annex XV and other literature
111 case histories have been collected as of January 2022.
By region
By requirement
Some projects overlap between requirements
By project type
Some projects overlap between types

## Slide 5: Characteristics of case histories (1)
Requirements | Major characteristics | No. of cases
A) Untapped potential | Utilization of untapped potential in river flow/reservoir Water diversion from other catchments | 9
B) Technical innovation | Improvement of durability of turbine/generator Improvement of partial load efficiency of turbine/generator Reuse of existing parts and downsizing of renewed facilities Improvement of flow capacity of headrace channel | 13
C) Market needs | Upgrading of frequency control/ phase adjustment functions Improvement of pumped storage function | 6
Type I: Renewal and upgrading projects
Some cases overlap between requirements

## Slide 6: Characteristics of case histories (2)
Requirements | Major characteristics | No. of cases
A) Untapped potential | Utilization of environmental flow (E-flow) from dam Utilization of untapped potential in river flow, channels, etc. Utilization of unused water head at dam | 71 (34 for E-flow)
B) Technical innovation | New construction of power plant utilizing unused river flow with advanced technologies Improvement of capacity factor by downsizing of turbine/generator | 4
C) Market needs | Increase of peak supply capacity Expansion of pumped storage power plant Addition of pumped storage function at existing power plant | 10
Type II: Expansion and redevelopment projects
Some cases overlap between requirements

## Slide 7: Characteristics of case histories (3)
Requirements | Major characteristics | No. of cases
A) Untapped potential | Water diversion from other catchments | 8
B) Technical innovation | Extension of flow range for power generation Improvement of capacity factor by downsizing turbine/generator Optimization of intake discharge management Improvement of flow capacity of headrace channel Refinement of reservoir inflow prediction | 17
C) Market needs | Extension of flow range for power generation | 1
Type III: Operational improvement
Some cases overlap between requirements

## Slide 8: Summary and request for participants
Many cases on utilization of untapped potential, innovative/advanced methodologies and response to the market needs can be identified through the case history study.
The categorization of projects and requirements for HUHOs with case histories in this study is helpful to systematically identify HUHOs in the improvement of existing hydropower performance.
The methodology can be applicable to a wide range of modernization projects based on the case histories.
Case histories from the WS participants are welcomed!
  Please contact hydropower-2@jepic.or.jp

## Slide 9: Thank you for attention!