## Slide 1: IEA Annex XVI Task 3 Overview: Adding Power to Non-Powered Infrastructure
February 28, 2022 Workshop: What Research and Innovation are Needed to Tap More Hidden Hydro Opportunities in the Future?
Carly Hansen
Water Resources Engineer at Oak Ridge National Laboratory, USA
IEA Annex XVI Task 3 Lead

## Slide 2: Hidden hydro opportunities using existing non-powered infrastructure
Broad spectrum of infrastructure:
  Dams
  Low-head barriers
  Locks
  Canals
  Conduits/water systems
  Mining/debris storage
US Bureau of Reclamation South Canal Hydropower Project
US Army Corps of Engineers Red Rock Dam Project
Portland Conduit 3 LucidPipe Project

## Slide 3: Hidden hydro opportunities using existing non-powered infrastructure
Motivation:
  Maximizing use of existing structures/facilities
    Reduced capital costs
    Reduced carbon footprint compared to new development
  Co-improvement and development opportunities
    Structures are already supporting other purposes
    Other non-hydropower benefits may be possible
Excerpt from November 2021 article in WIRED magazine

## Slide 4: Hidden hydro opportunities using existing non-powered infrastructure
Objectives:
  Identify and evaluate the opportunities using existing non-powered infrastructure
  Create a catalog of projects
      Represent the spectrum of types of projects
      Determine patterns (regionally, over time, etc.)
    Overlap with Annex XVI Task 1 (Inventories)
      Help describe current state of inventories of non-powered dams, canals, water systems
      Identify characteristics of these projects that should be included in inventories
    Overlap with Annex XVI Task 4 (Research & Innovation)
        Highlight particularly innovative or noteworthy projects – where did recent R&I make a difference?
        Determine driving factors for successful projects – what R&I could improve or optimize these factors?
        Outline obstacles to these types of projects – what R&I is needed to address them?